## Sheet1
option | asset_type | asset_subtype | unit_cost | unit_cost_uom | benefit | comments | reference
Increase solar capacity | source | solar | - | $/kW | RES assets not vulnerable | This could be based on Jamaica's RES targets
Increase wind capacity | source | solar | - | $/kW | RES assets not vulnerable | This could be based on Jamaica's RES targets
Add high-voltage substation | junction | substation | - | $/kW | Add network redundancy
Improve design standards | - | - | - | $/kW | Shifts fragility curve right
Add transmission capacity | edge | high-voltage | - | $/kW | Add network redundancy
Substation flood protection | junction | substation | 4289168 | $USD per substation | Full protection from flooding | Based on National Grid analysis from the UK | https://www.nationalgrid.com/uk/electricity-transmission/document/140911/download
Upgrade utility poles from wood to steel | junction | pole | 800.19 | $USD/kV per asset | Results in a 76% reduction in damage index (Miyamoto 2019) | Cost data based on MISO Energy (U.S.) | https://cdn.misoenergy.org/20190212%20PSC%20Item%2005a%20Transmission%20Cost%20Estimation%20Guide%20for%20MTEP%202019_for%20review317692.pdf